University of Florida Critical Care Medicine Ultrasound Curriculum

Self Learning Test - Basic Physics

Name:

| Question | Your Answer | Correct Answer |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| Reviewer Comments |

1. In relationship to ultrasound imaging, air will:

- Improve ultrasound transmission

- By being a strong reflector, air will be impermeable to transmission

- Have no effect on ultrasound transmission

- Can not be used in lung ultrasound due to the           air content in lungs

2. The number of cycles per second is the definition of

- Wave speed

- Frequency

- Hertz

- None of the above

3. Diagnostic ultrasound transducers are based

on the physical principle of:

- Murphy’s law

- ALARA principle

- Doppler principle

- Piezoelectric effect

- None of the above

4. Axial resolution of ultrasound is primarily

dependent on the:

- Transducer frequency

- Power

- Frame rate

- Beam width

5. Compared with a 2-MHz transducer, a 5-MHz

transducer will have:

- A deeper tissue penetration

- A lower image resolution

- No difference in depth penetration or image resolution

- Both a better resolution image and a greater depth penetration

- A better image resolution and a lower depth penetration